## SHOP AREA INSPECTION CHECKLIST

| Building & Room: |  | Inspected By: |  |
| --- | --- | --- | --- |
| Shop Supervisor: |  | Date: |  |

All locations with shop machinery must be inspected at least quarterly. For each item check Yes, No, or N/A. Be sure to retain all documentation regarding inspections, including findings and corrective actions taken for any “No” responses, for a minimum of 3 years. Contact EH&S at 723-0448 for questions or additional information.

| Y | N | N/A | GENERAL SAFETY |
| --- | --- | --- | --- |
|  |  |  | Area around fire extinguishers, pull alarms, emergency showers, and electrical panels kept clear? |
|  |  |  | Eighteen-inch vertical clearance maintained below fire sprinkler heads (e.g., over shelves)? |
|  |  |  | Cabinets, furniture, and machinery taller than 4 feet braced or anchored? |
|  |  |  | No food and drink stored or consumed in shop area? |
|  |  |  | Extension cords and power strips not daisy chained and no permanent extension cords in use? |
|  |  |  | No exposed wiring or damaged electrical cords? |
|  |  |  | Machinery has adequate clearance for safe operation? |
|  |  |  | Floors dry; bench tops and machinery kept reasonably clean and free of dust and debris? |
|  |  |  | All shop tools and chemicals returned to storage locations after use or at the end of the day? |
|  |  |  | Machinery and tools periodically inspected and maintenance/repairs provided as needed? |
|  |  |  | USER SAFETY |
|  |  |  | All users have reviewed SU Safe Operation of Shop Machinery? |
|  |  |  | All users have completed documented site-specific shop machinery training? |
|  |  |  | All users wearing appropriate street clothing and personal protective equipment, including confining long hair/beards and no jewelry (e.g., rings, necklaces, dangling earrings)? |
|  |  |  | All users operating only equipment and tools they have been trained and authorized to use? |
|  |  |  | All users notified they cannot work alone (another authorized user must be present) unless prior approval is obtained? See Shop Machinery Guidelines for Supervisors for additional guidance. |
|  |  |  | Access to shop machinery controlled to prevent unauthorized use? |
|  |  |  | All injuries, incidents, and near misses reported to supervisor and documented using SU-17 form? |
|  |  |  | HAZARDOUS CHEMICALS & WASTES |
|  |  |  | Chemical containers (including household products) and chemical wastes legibly labeled with full chemical or trade name (note: abbreviations/formulas are not adequate)? |
|  |  |  | Incompatible chemicals properly segregated (see Stanford’s Storage Group Classification System)? |
|  |  |  | Chemical and waste containers in good condition and kept closed except during use (no funnels)? |
|  |  |  | Hazardous chemicals and oil pumps stored in secondary containment free of spilled material? |
|  |  |  | Oily rags managed appropriately in oily waste cans? |
|  |  |  | Flammable solvents and waste stored in flammable liquid storage cabinets? |
|  |  |  | No hazardous chemicals near sinks or drains unless secondary containment is provided? |
|  |  |  | “Chemical Waste Compliance” poster posted in locations where hazardous waste is accumulated? |
|  |  |  | Emergency contacts, chemical storage maps, and chemical inventory in life safety box are current? |
|  |  |  | Hazardous material spill cleanup kits and first aid kits available (recommended)? |
|  |  |  | All chemical wastes collected in compatible containers with completed waste tags attached and kept for no longer than 9 months from “accumulation date” on waste tag? |
|  |  |  | COMPRESSED GASES |
|  |  |  | Cylinders listed on chemical inventory, positioned so that contents label is visible, and stored in a dry, well-ventilated location protected from heat sources? |
|  |  |  | Cylinders > 26” tall secured to a rigid structure at 1/3 and 2/3 height with metal chains and a maximum of 2 cylinders per pair of chains (one restraint for cylinders <26” and dewars)? |
|  |  |  | Cylinder valves closed and valve caps in place when cylinders not in use? |

Comments & Additional Findings